## 2x6_20181012_LODadded
File Name | LED Current | Lens Focal Length (mm) | Exposure Time (sec) | Line | Mean Background | Background Standard Deviation | Sets Found | Mean Signal 10u | Signal to Noise Ratio 10u | Limit of Detection (nM) 10u | Mean Signal 5u | Signal to Noise Ratio 5u | Limit of Detection (nM) 5u | Start to Start Distance From Last Set 5u | Mean Signal 1u | Signal to Noise Ratio 1u | Limit of Detection (nM) 1u | Start to Start Distance From Last Set 1u | Mean Signal 500n | Signal to Noise Ratio 500n | Limit of Detection (nM) 500n | Start to Start Distance From Last Set 500n | Mean Signal 100n | Signal to Noise Ratio 100n | Limit of Detection (nM) 100n | Start to Start Distance From Last Set 100n | Mean Signal 50n | Signal to Noise Ratio 50n | Limit of Detection (nM) 50n | Start to Start Distance From Last Set 50n
10-08 chopped cube 2sec G20 4A 25mm lens F1.4 10-02 Red Exc chip.bmp | 4 | 25 | 2 | Assays | 4.751 | 1.094 | 4 | 61.582 | 18.758 | 533.117 | 98.316 | 29.946 | 166.965 | 139 | 33.382 | 10.168 | 98.347 | 140 | 15.382 | 4.685 | 106.716 | 140 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10-08 chopped cube 2sec G20 4A 25mm lens F1.4 10-02 Red Exc chip.bmp | 4 | 25 | 2 | Known Concentration | 4.427 | 1.003 | 5 | 170.507 | 56.652 | 176.517 | 121.773 | 40.46 | 123.579 | 141 | 27.973 | 9.294 | 107.593 | 140 | 15.573 | 5.174 | 96.631 | 142 | 4.907 | 1.63 | 61.34 | 121 | 0 | 0 | 0 | 0
10-08 chopped cube 2sec G20 7.8A 25mm lens F1.4 10-02 Red Exc chip.bmp | 8 | 25 | 2 | Assays | 5.82 | 1.205 | 4 | 52.18 | 14.432 | 692.894 | 81.78 | 22.619 | 221.052 | 127 | 25.78 | 7.13 | 140.245 | 141 | 12.847 | 3.553 | 140.718 | 140 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10-08 chopped cube 2sec G20 7.8A 25mm lens F1.4 10-02 Red Exc chip.bmp | 8 | 25 | 2 | Known Concentration | 5.441 | 0.922 | 6 | 189.226 | 68.38 | 146.241 | 127.359 | 46.024 | 108.64 | 142 | 34.026 | 12.296 | 81.328 | 139 | 16.692 | 6.032 | 82.89 | 142 | 4.692 | 1.696 | 58.975 | 122 | 3.692 | 1.334 | 37.474 | 157
10-08 ET595_44m chopped cube 2sec G20 4A 16mm lens F1.4 10-02 Red Exc chip.bmp | 4 | 16 | 2 | Assays | 4.103 | 1.182 | 4 | 53.83 | 15.175 | 658.96 | 74.43 | 20.983 | 238.29 | 137 | 30.497 | 8.597 | 116.314 | 139 | 15.897 | 4.481 | 111.57 | 139 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10-08 ET595_44m chopped cube 2sec G20 4A 16mm lens F1.4 10-02 Red Exc chip.bmp | 4 | 16 | 2 | Known Concentration | 4.064 | 0.966 | 4 | 142.602 | 49.191 | 203.29 | 84.802 | 29.253 | 170.925 | 139 | 18.402 | 6.348 | 157.533 | 140 | 8.669 | 2.99 | 167.205 | 137 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10-08 ET595_44m chopped cube 2sec G20 7.8A 16mm lens F1.4 10-02 Red Exc chip.bmp | 8 | 16 | 2 | Assays | 3.546 | 1.114 | 4 | 30.588 | 9.15 | 1092.9 | 46.188 | 13.817 | 361.886 | 136 | 16.188 | 4.842 | 206.51 | 141 | 9.921 | 2.968 | 168.476 | 140 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10-08 ET595_44m chopped cube 2sec G20 7.8A 16mm lens F1.4 10-02 Red Exc chip.bmp | 8 | 16 | 2 | Known Concentration | 3.346 | 0.898 | 4 | 117.388 | 43.568 | 229.526 | 50.854 | 18.874 | 264.908 | 140 | 9.721 | 3.608 | 277.165 | 140 | 4.988 | 1.851 | 270.095 | 140 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10-08 ET600_50m chopped cube 2sec G20 4A 16mm lens F1.4 10-02 Red Exc chip.bmp | 4 | 16 | 2 | Assays | 5.763 | 1.122 | 4 | 71.637 | 21.282 | 469.879 | 93.17 | 27.679 | 180.641 | 136 | 39.237 | 11.657 | 85.789 | 140 | 19.57 | 5.814 | 86 | 139 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10-08 ET600_50m chopped cube 2sec G20 4A 16mm lens F1.4 10-02 Red Exc chip.bmp | 4 | 16 | 2 | Known Concentration | 5.669 | 1.334 | 4 | 184.864 | 46.207 | 216.42 | 125.131 | 31.276 | 159.866 | 139 | 26.264 | 6.565 | 152.329 | 139 | 11.998 | 2.999 | 166.732 | 138 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10-08 ET600_50m chopped cube 2sec G20 4A 25mm lens F1.4 10-02 Red Exc chip.bmp | 4 | 25 | 2 | Assays | 3.748 | 0.916 | 4 | 55.386 | 20.158 | 496.085 | 81.119 | 29.524 | 169.356 | 137 | 28.519 | 10.38 | 96.343 | 141 | 15.519 | 5.648 | 88.524 | 140 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10-08 ET600_50m chopped cube 2sec G20 4A 25mm lens F1.4 10-02 Red Exc chip.bmp | 4 | 25 | 2 | Known Concentration | 3.747 | 1.02 | 4 | 149.72 | 48.919 | 204.418 | 93.453 | 30.535 | 163.747 | 141 | 20.72 | 6.77 | 147.71 | 138 | 10.587 | 3.459 | 144.547 | 142 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10-08 ET600_50m chopped cube 2sec G20 7.8A 16mm lens F1.4 10-02 Red Exc chip.bmp | 8 | 16 | 2 | Assays | 4.898 | 1.019 | 4 | 47.236 | 15.453 | 647.131 | 65.702 | 21.494 | 232.622 | 136 | 26.902 | 8.801 | 113.625 | 140 | 11.769 | 3.85 | 129.866 | 138 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10-08 ET600_50m chopped cube 2sec G20 7.8A 16mm lens F1.4 10-02 Red Exc chip.bmp | 8 | 16 | 2 | Known Concentration | 4.733 | 1.193 | 4 | 162.467 | 45.394 | 220.292 | 96.867 | 27.065 | 184.739 | 140 | 20.4 | 5.7 | 175.442 | 138 | 9.533 | 2.664 | 187.711 | 140 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10-08 ET600_50m chopped cube 2sec G20 7.8A 25mm lens F1.4 10-02 Red Exc chip.bmp | 8 | 25 | 2 | Assays | 3.447 | 0.948 | 4 | 40.753 | 14.327 | 697.988 | 57.087 | 20.069 | 249.142 | 138 | 19.153 | 6.733 | 148.514 | 138 | 11.287 | 3.968 | 126.013 | 140 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10-08 ET600_50m chopped cube 2sec G20 7.8A 25mm lens F1.4 10-02 Red Exc chip.bmp | 8 | 25 | 2 | Known Concentration | 3.536 | 1.039 | 4 | 134.998 | 43.306 | 230.916 | 74.598 | 23.93 | 208.942 | 141 | 15.331 | 4.918 | 203.333 | 138 | 9.264 | 2.972 | 168.241 | 140 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10-08 ET600_50m chopped cube 5sec G20 7.8A 25mm lens F1.4 10-02 Red Exc chip.bmp | 8 | 25 | 5 | Assays | 5.051 | 1.205 | 4 | 72.816 | 20.139 | 496.558 | 104.282 | 28.841 | 173.362 | 140 | 37.349 | 10.33 | 96.809 | 142 | 19.549 | 5.407 | 92.479 | 138 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10-08 ET600_50m chopped cube 5sec G20 7.8A 25mm lens F1.4 10-02 Red Exc chip.bmp | 8 | 25 | 5 | Known Concentration | 4.968 | 1.373 | 5 | 187.632 | 45.538 | 219.597 | 125.832 | 30.539 | 163.724 | 140 | 29.699 | 7.208 | 138.737 | 142 | 15.966 | 3.875 | 129.039 | 136 | 5.566 | 1.351 | 74.033 | 238 | 0 | 0 | 0 | 0
10-08 unchopped cube 2sec G20 4A 25mm lens F1.4 10-02 Red Exc chip.bmp | 4 | 25 | 2 | Assays | 5.498 | 1.101 | 5 | 53.236 | 16.12 | 620.35 | 83.502 | 25.285 | 197.747 | 126 | 30.036 | 9.095 | 109.952 | 140 | 13.902 | 4.21 | 118.775 | 140 | 4.369 | 1.323 | 75.591 | 112 | 0 | 0 | 0 | 0
10-08 unchopped cube 2sec G20 4A 25mm lens F1.4 10-02 Red Exc chip.bmp | 4 | 25 | 2 | Known Concentration | 5.554 | 1.062 | 4 | 166.779 | 52.348 | 191.03 | 120.246 | 37.742 | 132.478 | 140 | 26.779 | 8.405 | 118.974 | 140 | 14.779 | 4.639 | 107.788 | 141 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10-08 unchopped cube 2sec G20 4A 35mm lens F1.4 10-02 Red Exc chip.bmp | 4 | 35 | 2 | Assays | 4.521 | 1.144 | 4 | 43.879 | 12.79 | 781.874 | 68.546 | 19.98 | 250.256 | 140 | 24.546 | 7.155 | 139.771 | 137 | 11.346 | 3.307 | 151.19 | 140 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10-08 unchopped cube 2sec G20 4A 35mm lens F1.4 10-02 Red Exc chip.bmp | 4 | 35 | 2 | Known Concentration | 4.554 | 1.087 | 4 | 147.379 | 45.213 | 221.176 | 85.579 | 26.254 | 190.448 | 139 | 17.846 | 5.475 | 182.66 | 142 | 8.112 | 2.489 | 200.911 | 137 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10-08 unchopped cube 2sec G20 7.8A 25mm lens F1.4 10-02 Red Exc chip.bmp | 8 | 25 | 2 | Assays | 7.044 | 1.023 | 6 | 46.689 | 15.212 | 657.383 | 72.689 | 23.683 | 211.122 | 126 | 25.356 | 8.261 | 121.048 | 141 | 12.156 | 3.96 | 126.249 | 140 | 3.822 | 1.245 | 80.3 | 130 | 5.622 | 1.832 | 27.296 | 153
10-08 unchopped cube 2sec G20 7.8A 25mm lens F1.4 10-02 Red Exc chip.bmp | 8 | 25 | 2 | Known Concentration | 6.866 | 1.186 | 6 | 183.068 | 51.432 | 194.432 | 126.201 | 35.455 | 141.022 | 140 | 31.134 | 8.747 | 114.325 | 140 | 17.601 | 4.945 | 101.114 | 142 | 5.468 | 1.536 | 65.098 | 136 | 4.668 | 1.311 | 38.128 | 141
10-08 unchopped cube 2sec G20 7.8A 35mm lens F1.4 10-02 Red Exc chip.bmp | 8 | 35 | 2 | Assays | 5.021 | 1.034 | 4 | 31.245 | 10.076 | 992.492 | 47.645 | 15.364 | 325.434 | 136 | 17.512 | 5.647 | 177.082 | 139 | 8.112 | 2.616 | 191.139 | 141 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10-08 unchopped cube 2sec G20 7.8A 35mm lens F1.4 10-02 Red Exc chip.bmp | 8 | 35 | 2 | Known Concentration | 5.143 | 1.166 | 4 | 154.257 | 44.093 | 226.795 | 94.923 | 27.133 | 184.278 | 140 | 20.057 | 5.733 | 174.429 | 140 | 10.723 | 3.065 | 163.124 | 140 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2sec G20 4A 16mm lens F1.4 10-02 Red Exc chip.bmp | 4 | 16 | 2 | Assays | 9.628 | 1.297 | 4 | 91.839 | 23.597 | 423.775 | 116.239 | 29.867 | 167.41 | 140 | 37.972 | 9.757 | 102.493 | 138 | 20.039 | 5.149 | 97.109 | 138 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2sec G20 4A 16mm lens F1.4 10-02 Red Exc chip.bmp | 4 | 16 | 2 | Known Concentration | 9.07 | 1.864 | 4 | 195.596 | 34.972 | 285.943 | 130.263 | 23.291 | 214.679 | 140 | 31.263 | 5.59 | 178.899 | 140 | 14.063 | 2.514 | 198.852 | 138 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2sec G20 4A 16mm lens F1.4 10-02 Red Exc no chip no carrier.bmp | 4 | 16 | 2 | Assays | 6.853 | 1.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2sec G20 4A 16mm lens F1.4 10-02 Red Exc no chip no carrier.bmp | 4 | 16 | 2 | Known Concentration | 6.64 | 1.122 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2sec G20 4A 16mm lens F1.4 10-02 Red Exc no chip.bmp | 4 | 16 | 2 | Assays | 7.291 | 1.092 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2sec G20 4A 16mm lens F1.4 10-02 Red Exc no chip.bmp | 4 | 16 | 2 | Known Concentration | 6.89 | 1.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2sec G20 4A 16mm lens F1.4 10-02 Red Exc no LED.bmp | 4 | 16 | 2 | Assays | 1.769 | 0.775 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2sec G20 4A 16mm lens F1.4 10-02 Red Exc no LED.bmp | 4 | 16 | 2 | Known Concentration | 1.907 | 0.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2sec G20 4A 25mm lens F1.4 10-02 Red Exc chip.bmp | 4 | 25 | 2 | Assays | 4.891 | 1.205 | 4 | 60.709 | 16.788 | 595.662 | 76.109 | 21.047 | 237.567 | 140 | 24.576 | 6.796 | 147.146 | 140 | 13.109 | 3.625 | 137.929 | 142 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2sec G20 4A 25mm lens F1.4 10-02 Red Exc chip.bmp | 4 | 25 | 2 | Known Concentration | 5.141 | 1.183 | 4 | 167.926 | 47.334 | 211.265 | 116.326 | 32.789 | 152.49 | 140 | 24.059 | 6.782 | 147.458 | 140 | 12.459 | 3.512 | 142.376 | 141 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2sec G20 4A 25mm lens F1.4 10-02 Red Exc no chip no carrier.bmp | 4 | 25 | 2 | Assays | 3.739 | 0.898 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2sec G20 4A 25mm lens F1.4 10-02 Red Exc no chip no carrier.bmp | 4 | 25 | 2 | Known Concentration | 3.776 | 1.005 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2sec G20 4A 25mm lens F1.4 10-02 Red Exc no chip.bmp | 4 | 25 | 2 | Assays | 3.603 | 0.998 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2sec G20 4A 25mm lens F1.4 10-02 Red Exc no chip.bmp | 4 | 25 | 2 | Known Concentration | 3.684 | 0.887 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2sec G20 4A 25mm lens F1.4 10-02 Red Exc no LED.bmp | 4 | 25 | 2 | Assays | 1.886 | 0.897 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2sec G20 4A 25mm lens F1.4 10-02 Red Exc no LED.bmp | 4 | 25 | 2 | Known Concentration | 1.838 | 0.886 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2sec G20 4A 35mm lens F1.4 10-02 Red Exc chip.bmp | 4 | 35 | 2 | Assays | 4.457 | 0.987 | 4 | 37.543 | 12.679 | 788.702 | 46.877 | 15.831 | 315.834 | 137 | 18.943 | 6.397 | 156.312 | 141 | 7.343 | 2.48 | 201.618 | 140 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2sec G20 4A 35mm lens F1.4 10-02 Red Exc chip.bmp | 4 | 35 | 2 | Known Concentration | 4.348 | 0.85 | 4 | 139.919 | 54.896 | 182.164 | 87.519 | 34.337 | 145.615 | 138 | 16.586 | 6.507 | 153.677 | 155 | 8.986 | 3.525 | 141.828 | 127 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2sec G20 4A 35mm lens F1.4 10-02 Red Exc no chip no carrier.bmp | 4 | 35 | 2 | Assays | 3.167 | 0.955 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2sec G20 4A 35mm lens F1.4 10-02 Red Exc no chip no carrier.bmp | 4 | 35 | 2 | Known Concentration | 3.152 | 0.791 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2sec G20 4A 35mm lens F1.4 10-02 Red Exc no chip.bmp | 4 | 35 | 2 | Assays | 3.253 | 0.877 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2sec G20 4A 35mm lens F1.4 10-02 Red Exc no chip.bmp | 4 | 35 | 2 | Known Concentration | 3.139 | 0.823 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2sec G20 4A 35mm lens F1.4 10-02 Red Exc no LED.bmp | 4 | 35 | 2 | Assays | 1.749 | 0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2sec G20 4A 35mm lens F1.4 10-02 Red Exc no LED.bmp | 4 | 35 | 2 | Known Concentration | 1.789 | 0.711 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2sec G20 7A 25mm lens F1.4 10-02 Red Exc chip.bmp | 7 | 25 | 2 | Assays | 5.437 | 1.105 | 4 | 53.297 | 16.076 | 622.027 | 76.497 | 23.075 | 216.689 | 138 | 23.897 | 7.208 | 138.731 | 141 | 8.363 | 2.523 | 198.198 | 138 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2sec G20 7A 25mm lens F1.4 10-02 Red Exc chip.bmp | 7 | 25 | 2 | Known Concentration | 5.656 | 1.216 | 4 | 189.211 | 51.85 | 192.864 | 130.411 | 35.737 | 139.911 | 141 | 25.944 | 7.11 | 140.654 | 139 | 7.544 | 2.067 | 241.846 | 140 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2sec G20 7A 35mm lens F1.4 10-02 Red Exc chip.bmp | 7 | 35 | 2 | Assays | 5.002 | 0.989 | 4 | 29.464 | 9.926 | 1007.416 | 38.464 | 12.958 | 385.849 | 138 | 14.131 | 4.761 | 210.054 | 139 | 5.731 | 1.931 | 258.964 | 143 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2sec G20 7A 35mm lens F1.4 10-02 Red Exc chip.bmp | 7 | 35 | 2 | Known Concentration | 5.045 | 1.412 | 4 | 148.489 | 35.049 | 285.312 | 97.555 | 23.027 | 217.136 | 140 | 20.155 | 4.757 | 210.195 | 140 | 8.289 | 1.956 | 255.561 | 140 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5sec G20 7A 25mm lens F1.4 10-02 Red Exc chip.bmp | 7 | 25 | 5 | Assays | 11.237 | 2 | 4 | 113.097 | 18.848 | 530.563 | 139.63 | 23.27 | 214.871 | 140 | 56.763 | 9.46 | 105.711 | 140 | 20.497 | 3.416 | 146.377 | 140 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5sec G20 7A 25mm lens F1.4 10-02 Red Exc chip.bmp | 7 | 25 | 5 | Known Concentration | 11.296 | 2.026 | 4 | 242.704 | 39.934 | 250.411 | 191.838 | 31.565 | 158.404 | 140 | 58.038 | 9.549 | 104.718 | 140 | 16.971 | 2.792 | 179.057 | 141 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5sec G20 7A 35mm lens F1.4 10-02 Red Exc chip.bmp | 7 | 35 | 5 | Assays | 10.121 | 1.393 | 4 | 64.612 | 15.462 | 646.76 | 86.346 | 20.662 | 241.985 | 139 | 33.879 | 8.107 | 123.347 | 140 | 17.279 | 4.135 | 120.924 | 139 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5sec G20 7A 35mm lens F1.4 10-02 Red Exc chip.bmp | 7 | 35 | 5 | Known Concentration | 9.668 | 1.441 | 5 | 211.066 | 48.827 | 204.803 | 149.199 | 34.515 | 144.863 | 141 | 48.732 | 11.274 | 88.703 | 138 | 21.066 | 4.873 | 102.601 | 141 | 6.532 | 1.511 | 66.175 | 138 | 0 | 0 | 0 | 0